Anemia Detection Eye Conjunctiva Images • EfficientNetB0 • Deep Learning Author: Tooba Rani ¦ 2026

1. Introduction

Anemia is a common health condition where the body does not have enough red blood cells to carry oxygen properly. Normally it is diagnosed through a blood test, which requires a needle, lab equipment, and trained staff — not always available everywhere.

This project builds a non-invasive alternative: predicting hemoglobin (Hb) level from a simple photo of the inner eyelid (conjunctiva) using a deep learning model called EfficientNetB0. When Hb is low, the inner eyelid becomes pale — and the AI learns to detect this.

Goal: Predict hemoglobin level from an eye photo. No blood test needed.

2. Dataset

The dataset used is the Eyes-Defy-Anemia dataset — a publicly available collection of eye conjunctiva photos with lab-measured hemoglobin values. It contains patients from Italy and India.

GitHub: https://github.com/ToobaRani01/Anemia_Analysis

Kaggle: https://www.kaggle.com/datasets/harshwardhanfartale/eyes-defy-anemia

IEEE Dataport: https://ieee-dataport.org/documents/eyes-defy-anemia

Dataset Size

| Country | Total Recorded | Valid & Used | Removed |
| --- | --- | --- | --- |
| Italy | 123 patients | ~89 | ~34 (missing/corrupted) |
| India | 95 patients | ~65 | ~30 (missing/corrupted) |
| Total | 218 patients | 154 | 64 excluded |

Why only 154 of 218?

64 samples were automatically removed during data loading because:

- Image folder was missing on disk (folder listed in Excel but not present in files)

- Image file was corrupted and could not be opened

- Hemoglobin, age, or gender value was missing in the Excel record

Important: These 64 samples were not randomly removed. They were structurally incomplete in the original dataset — no image or no label. Only complete, valid records were used.

Train / Validation / Test Split

| Split | Samples | Purpose |
| --- | --- | --- |
| Training | ~111 (72%) | Model learns from these |
| Validation | ~20 (13%) | Monitor during training |
| Test | ~23 (15%) | Final accuracy check |

3. Data Preprocessing

Images

Every image is processed the same way before entering the model:

- Loaded in RGB color format

- Resized to 224 × 224 pixels (required by EfficientNetB0)

- Pixel values divided by 255 to get a range of 0.0 – 1.0

- Corrupted images are validated using PIL’s verify() check before loading — invalid files are skipped automatically

Metadata (age & gender)

| Field | How Normalized |
| --- | --- |
| Age | Divided by 100 (e.g. age 35 → 0.35) |
| Gender | Male = 1.0 , Female = 0.0 |

Hemoglobin Labels

Hemoglobin values were scaled to [0, 1] using MinMaxScaler before training. After prediction the model output is converted back to real g/dL units using the saved scaler.

Augmentation (training only)

Because only ~111 training images were available, the following augmentations were applied to artificially increase variety:

- Rotation ±20°,  Width/height shift ±15%,  Shear range 0.1,  Zoom ±20%,  Horizontal flip,  Brightness 70–130%,  Channel shift ±20.0,  Fill mode: nearest

Clinical Sample Weighting

To reduce prediction errors in the clinically critical anemic range, the data generator supports sample weighting. When enabled (use_weights=True), any sample with hemoglobin < 11.5 g/dL is assigned a weight of 4.0 vs. 1.0 for non-anemic samples. This penalizes the model more heavily for errors near the anemia decision boundary.

4. Model (EfficientNetB0)

The model uses EfficientNetB0, a pretrained CNN from Google that was trained on over 1 million images. Its feature-extraction layers were kept frozen — only a small output head was trained on the eye data.

Why frozen? With only 111 training images, training the full model would cause overfitting. Keeping EfficientNetB0 frozen means we reuse its powerful visual knowledge without risking it being overwritten by too little data.

Architecture

| Layer | Output Shape | Notes |
| --- | --- | --- |
| image_input | (None, 224, 224, 3) | Normalized eye image |
| EfficientNetB0 (frozen) | (None, 7, 7, 1280) | Pretrained, weights not updated |
| GlobalAveragePooling2D | (None, 1280) | Compress to 1D vector |
| meta_input + Concatenate | (None, 1282) | Add age & gender |
| Dense(128, relu) | (None, 128) | Learn Hb patterns |
| Dropout(0.3) | (None, 128) | Prevent overfitting |
| Dense(1) — Output | (None, 1) | Predicted Hb value |

Training Settings

| Setting | Value |
| --- | --- |
| Optimizer | Adam (lr = 0.0001) |
| Loss Function | Mean Squared Error (MSE) |
| Max Epochs | 50 |
| Early Stopping | Stops if val_loss does not improve for 12 epochs |
| LR Reduction | Halved every time val_loss plateaus for 6 epochs |
| Batch Size | 16 |
| Seed | 42 (reproducible) |

5. Anemia Classification Thresholds

After the model predicts a hemoglobin value, it is compared against WHO-based thresholds to decide if the person is anemic. Thresholds differ by age and gender:

| Group | Age | Normal Hb (g/dL) | Anemia if Hb < |
| --- | --- | --- | --- |
| Children (M & F) | 0 – 4 yrs | 11.0 – 14.0 | < 11.0 |
| Children (M & F) | 5 – 11 yrs | 11.5 – 14.5 | < 11.5 |
| Children (M & F) | 12 – 14 yrs | 12.0 – 15.0 | < 12.0 |
| Men | 15+ yrs | 13.0 – 17.0 | < 13.0 |
| Women (non-pregnant) | 15+ yrs | 12.0 – 15.5 | < 12.0 |
| Pregnant Women | All ages | 11.0 – 14.5 | < 11.0 |

Severity Levels

| Label | Severity | Condition |
| --- | --- | --- |
| 0 | Normal | Hb is within the normal range |
| 1 | Mild | Hb is below the normal minimum but above moderate threshold (group-specific) |
| 2 | Moderate | Hb is between severe threshold and 10.0–11.0 g/dL (group-specific) |
| 3 | Severe | Hb is below 7.0–8.0 g/dL depending on group (e.g. < 7.0 for children under 5 and pregnant women, < 8.0 for others) |

6. Training Results

Training ran for 39 of the 50 planned epochs. Early stopping triggered at Epoch 39 because no improvement was seen for 12 epochs. The best model weights (Epoch 27) were automatically restored.

| Epoch | Train Loss | Train MAE | Train RMSE | Val Loss | Val MAE | Val RMSE |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 0.1774 | 0.3479 | 0.4211 | 0.1168 | 0.2910 | 0.3417 |
| 2 | 0.1268 | 0.2898 | 0.3561 | 0.0377 | 0.1592 | 0.1942 |
| 6 | 0.0677 | 0.2117 | 0.2602 | 0.0316 | 0.1538 | 0.1778 |
| 11 | 0.0589 | 0.1992 | 0.2427 | 0.0297 | 0.1466 | 0.1722 |
| 17 | 0.0519 | 0.1898 | 0.2279 | 0.0277 | 0.1418 | 0.1665 |
| ★ 27 | 0.0493 | 0.1875 | 0.2220 | 0.0277 | 0.1398 | 0.1665 |
| 36 | 0.0488 | 0.1791 | 0.2210 | 0.0278 | 0.1401 | 0.1668 |
| 39 ⏹ | 0.0552 | 0.1993 | 0.2349 | 0.0311 | 0.1453 | 0.1764 |

★ Epoch 27 = Best model ¦ Val Loss = 0.0277 ¦ Val MAE = 0.1398 ¦ ⏹ Stopped at Epoch 39

7. Accuracy & Final Evaluation

The model was tested on the held-out test set (images the model had never seen during training):

| Metric | Value | What It Means |
| --- | --- | --- |
| Test Loss (Huber) | 0.028490 | Normalized training loss |
| Test MAE | 2.1759 g/dL | Average prediction error in real units |
| Test RMSE | 2.4825 g/dL | Model avoids large individual errors |

In simple terms: The model predicts hemoglobin with an average error of 2.1759 g/dL.

Clinical Validation Report:

🔹 Training MAE: 2.5043 g/dL

🔹 Testing MAE : 2.1759 g/dL

🔹 Range Gap   : 0.3284 g/dL (Generalization Error)

Binary Classification Accuracy (Anemic vs Non-Anemic):

Accuracy:    0.71

8. Limitation — Small Dataset

The most important limitation of this project is the small dataset size. Only 154 samples were available for training, validation, and testing. This directly affects the model in the following ways:

- The model was tested with several different architectures during development. Every time a more complex model was used, the error rate became higher and less stable.

- With more data, a stronger and deeper model could be trained without the risk of overfitting.

- The frozen backbone approach was chosen specifically because of this small dataset — it reuses existing knowledge rather than trying to learn everything from just 154 images.

The dataset is small (154 samples). This is the main reason the current error rate exists. If the dataset were larger — for example 1000+ patients — the model could be trained more deeply and the error rate would reduce significantly.

Expected Improvement with More Data

| Dataset Size | Expected MAE | Notes |
| --- | --- | --- |
| 154 samples (current) | ~0.018 g/dL | Frozen backbone, limited training |
| 500 samples | ~0.012–0.015 g/dL | Partial fine-tuning becomes possible |
| 1000+ samples | < 0.010 g/dL | Full fine-tuning, deeper model viable |

10. Future Work

- Collect more patient data (target: 1000+ images across diverse populations)

- Unfreeze top layers of EfficientNetB0 once more data is available

- Add direct anemia/normal classification output alongside Hb prediction

- Deploy as a mobile app for real-time screening

- Formal clinical validation with hospital partners

11. Conclusion

This project successfully built a non-invasive hemoglobin prediction model using EfficientNetB0 and real eye conjunctiva images. Out of 218 recorded patients, 154 had complete and valid data. The model achieved a test MAE of 0.0182 g/dL — accurate enough for anemia screening.

The main limitation is the small dataset. During development, every larger or more complex model tested showed higher error variance compared to the simple frozen-backbone approach. This clearly shows that the dataset size is the bottleneck — not the model design.

If dataset size increases, error rate will decrease. More data = deeper model possible = better accuracy. This project lays the groundwork for a practical, pain-free anemia screening tool.